{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Auto Heater Management"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"Auto Heater Management","index":0,"n_rows":50,"n_cols":38,"rows_kept":50,"merged":[[2,1,2,3],[2,6,2,9],[2,10,2,12],[2,14,2,16],[2,18,2,20]]}
[{"$nulls":30},"Heater management argument"]
[]
[null,"Low Power Level Selection",{"$nulls":4},"On-Trigger Level Selection",{"$nulls":3},"Off-Time Level Selection",{"$nulls":3},"Off-Trigger level Division Selection",{"$nulls":3},"LUT Selection",{"$nulls":11},"generate command code",{"$nulls":4},"decode argument"]
[null,"Power level",null,7,null,null,"On-trigger level",null,6,null,"Off confirmation time",null,7,null,"Off trigger limit",null,0,null,"LUT select",null,2,null,"Argument:",{"$f":"U4*2^12+M4*2^9+Q4*2^7+I4*2^3+D4","v":11831},null,"Eris Argument CRC calculator",{"$nulls":4},"Calibration","Water",{"$f":"HYPERLINK(\"#\"&ADDRESS(ROW(),COLUMN()-1),CHAR(128))","v":"€"},{"$f":"VLOOKUP(AF4,T$8:U$10,2,FALSE)","v":1},null,"Command argument (4 hex digits)",1645,{"$f":"HEX2DEC(AK4)","v":5701}]
[null,"(3 bit)","Bit[0:2]",{"$nulls":3},"(4 bit)","Bit[3:6]",null,null,"(3 bit)","Bit[9:11]",null,null,"(2 bit)","Bit[7:8]",null,null,"(4 bit)","Bit[12:15]",null,null,"Hex:",{"$f":"\"0x\"&DEC2HEX(X4,4)","v":"0x2E37"},null,"Word",{"$f":"X4","v":11831},null,{"$f":"\"0x\"&DEC2HEX(AA5,4)","v":"0x2E37"},null,"off-trigger time [ms]",400,{"$f":"HYPERLINK(\"#\"&ADDRESS(ROW(),COLUMN()-1),CHAR(128))","v":"€"},{"$f":"VLOOKUP(AF5,L8:M15,2)","v":4},null,"Calibration",{"$f":"VLOOKUP(AL5,U8:V23,2)","v":"Water"},{"$f":"_xlfn.BITAND(AL$4,HEX2DEC(\"F000\"))/2^12","v":1}]
[{"$nulls":22},"CRC:",{"$f":"AC28","v":"0x62"},null,"MSB",{"$f":"_xlfn.BITAND(AA5,255*256)/256","v":46},{"$f":"DEC2BIN(AA6,8)","v":"00101110"},{"$f":"\"0x\"&DEC2HEX(AA6,2)","v":"0x2E"},null,"off-trigger level divider",4,{"$f":"HYPERLINK(\"#\"&ADDRESS(ROW(),COLUMN()-1),CHAR(128))","v":"€"},{"$f":"VLOOKUP(AF6,P8:Q11,2)","v":2},null,"off-trigger time [ms]",{"$f":"VLOOKUP(AL6,M8:N15,2)","v":200},{"$f":"_xlfn.BITAND(AL$4,HEX2DEC(\"0E00\"))/2^9","v":3}]
[null,null,"% power","#",{"$nulls":3},"flow ticks","#",null,null,"ms","#",null,null,"on-trigger divider","#",null,"meaning",null,"#",{"$nulls":4},"LSB",{"$f":"_xlfn.BITAND(AA5,255)","v":55},{"$f":"DEC2BIN(AA7,8)","v":"00110111"},{"$f":"\"0x\"&DEC2HEX(AA7,2)","v":"0x37"},null,"on-trigger level [flow ticks]",4500,{"$f":"HYPERLINK(\"#\"&ADDRESS(ROW(),COLUMN()-1),CHAR(128))","v":"€"},{"$f":"VLOOKUP(AF7,H8:I23,2)","v":15},null,"off-trigger level divider",{"$f":"VLOOKUP(AL7,Q8:R11,2)","v":2},{"$f":"_xlfn.BITAND(AL$4,HEX2DEC(\"0180\"))/2^7","v":0}]
[null,null,{"v":0.045,"d":"4.50%"},0,{"$f":"C8","v":{"v":0.045,"d":"5%"}},null,null,25,0,{"$f":"H8","v":25},null,25,0,{"$f":"L8","v":25},null,2,0,{"$f":"P8","v":2},"measure medium",{"$f":"\"alt\"&U8&\".otp\"","v":"alt0.otp"},0,{"$f":"T8","v":"alt0.otp"},{"$nulls":8},"low power level",{"v":0.18,"d":"18%"},{"$f":"HYPERLINK(\"#\"&ADDRESS(ROW(),COLUMN()-1),CHAR(128))","v":"€"},{"$f":"VLOOKUP(AF8,C8:D15,2)","v":4},null,"on-trigger level [flow ticks]",{"$f":"VLOOKUP(AL8,I8:J23,2)","v":400},{"$f":"_xlfn.BITAND(AL$4,HEX2DEC(\"0078\"))/2^3","v":8}]
[null,null,{"v":0.0625,"d":"6.25%"},1,{"$f":"C9","v":{"v":0.0625,"d":"6%"}},null,null,35,1,{"$f":"H9","v":35},null,50,1,{"$f":"L9","v":50},null,3,1,{"$f":"P9","v":3},"H2O DTP","Water",1,{"$f":"T9","v":"Water"},{"$nulls":3},"poly",49,{"$f":"DEC2BIN(AA9,8)","v":"00110001"},{"$f":"\"0x\"&DEC2HEX(AA9,2)","v":"0x31"},null,"Command w. Argument",{"$f":"\"0x3639\"&DEC2HEX(AH9,4)&DEC2HEX(S50,2)","v":"0x3639197CA9"},null,{"$f":"AH4*2^12+AH5*2^9+AH6*2^7+AH7*2^3+AH8","v":6524},null,"low power level",{"$f":"VLOOKUP(AL9,D8:E15,2)","v":{"v":0.25,"d":"25%"}},{"$f":"_xlfn.BITAND(AL$4,HEX2DEC(\"0007\"))","v":5}]
[null,null,{"v":0.09,"d":"9.00%"},2,{"v":0.09,"d":"9%"},null,null,50,2,50,null,100,2,100,null,4,2,4,"IPA","IPA",2,"IPA",{"$nulls":3},"init",255,{"$f":"DEC2BIN(AA10,8)","v":"11111111"},{"$f":"\"0x\"&DEC2HEX(AA10,2)","v":"0xFF"}]
[null,null,{"v":0.125,"d":"12.50%"},3,{"v":0.125,"d":"13%"},null,null,70,3,70,null,200,3,200,null,6,3,6,{"$nulls":8},{"$f":"_xlfn.BITXOR(AA10,AA6)","v":209}]
[null,null,{"v":0.18,"d":"18.00%"},4,{"v":0.18,"d":"18%"},null,null,100,4,100,null,400,4,400,{"$nulls":11},{"$f":"_xlfn.BITLSHIFT(AA11,1)","v":418},{"$f":"_xlfn.BITAND(IF(_xlfn.BITAND(AA11,128)>0,_xlfn.BITXOR(Z12,AA$9),Z12),255)","v":147},{"$f":"DEC2BIN(AA12,8)","v":"10010011"},{"$f":"\"0x\"&DEC2HEX(AA12,2)","v":"0x93"}]
[null,null,{"v":0.25,"d":"25.00%"},5,{"v":0.25,"d":"25%"},null,null,140,5,140,null,800,5,800,{"$nulls":11},294,{"$f":"_xlfn.BITAND(IF(_xlfn.BITAND(AA12,128)>0,_xlfn.BITXOR(Z13,AA$9),Z13),255)","v":23},"00010111","0x17"]
[null,null,{"v":0.35,"d":"35.00%"},6,{"v":0.35,"d":"35%"},null,null,200,6,200,null,1600,6,1600,{"$nulls":11},46,46,"00101110","0x2E"]
[null,null,{"v":0.5,"d":"50.00%"},7,{"v":0.5,"d":"50%"},null,null,280,7,280,null,3200,7,3200,{"$nulls":11},92,92,"01011100","0x5C"]
[{"$nulls":7},400,8,400,{"$nulls":15},184,184,"10111000","0xB8"]
[{"$nulls":7},565,9,565,{"$nulls":15},368,65,"01000001","0x41"]
[{"$nulls":7},800,10,800,{"$nulls":15},130,130,"10000010","0x82"]
[{"$nulls":7},1130,11,1130,{"$nulls":15},260,53,"00110101","0x35"]
[{"$nulls":7},1600,12,1600,{"$nulls":16},{"$f":"_xlfn.BITXOR(AA19,AA7)","v":2}]
[{"$nulls":7},2260,13,2260,{"$nulls":15},{"$f":"_xlfn.BITLSHIFT(AA20,1)","v":4},{"$f":"_xlfn.BITAND(IF(_xlfn.BITAND(AA20,128)>0,_xlfn.BITXOR(Z21,AA$9),Z21),255)","v":4},{"$f":"DEC2BIN(AA21,8)","v":"00000100"},{"$f":"\"0x\"&DEC2HEX(AA21,2)","v":"0x04"}]
[{"$nulls":7},3200,14,3200,{"$nulls":15},8,8,"00001000","0x08"]
[{"$nulls":7},4500,15,4500,{"$nulls":15},16,16,"00010000","0x10"]
[{"$nulls":25},32,32,"00100000","0x20"]
[{"$nulls":25},64,64,"01000000","0x40"]
[{"$nulls":17},"Eris Argument CRC calculator",{"$nulls":7},128,128,"10000000","0x80"]
[{"$nulls":17},"Word",{"$f":"AH9","v":6524},null,null,{"$f":"\"0x\"&DEC2HEX(S27,4)","v":"0x197C"},{"$nulls":3},256,49,"00110001","0x31"]
[{"$nulls":17},"MSB",{"$f":"_xlfn.BITAND(S27,255*256)/256","v":25},null,{"$f":"DEC2BIN(S28,8)","v":"00011001"},{"$f":"\"0x\"&DEC2HEX(S28,2)","v":"0x19"},{"$nulls":3},98,98,"01100010",{"$f":"\"0x\"&DEC2HEX(AA28,2)","v":"0x62"}]
[{"$nulls":17},"LSB",{"$f":"_xlfn.BITAND(S27,255)","v":124},null,{"$f":"DEC2BIN(S29,8)","v":"01111100"},{"$f":"\"0x\"&DEC2HEX(S29,2)","v":"0x7C"}]
[]
[{"$nulls":17},"poly",49,null,{"$f":"DEC2BIN(S31,8)","v":"00110001"},{"$f":"\"0x\"&DEC2HEX(S31,2)","v":"0x31"}]
[{"$nulls":17},"init",255,null,{"$f":"DEC2BIN(S32,8)","v":"11111111"},{"$f":"\"0x\"&DEC2HEX(S32,2)","v":"0xFF"}]
[{"$nulls":18},{"$f":"_xlfn.BITXOR(S32,S28)","v":230}]
[{"$nulls":17},{"$f":"_xlfn.BITLSHIFT(S33,1)","v":460},{"$f":"_xlfn.BITAND(IF(_xlfn.BITAND(S33,128)>0,_xlfn.BITXOR(R34,S$31),R34),255)","v":253},null,{"$f":"DEC2BIN(S34,8)","v":"11111101"},{"$f":"\"0x\"&DEC2HEX(S34,2)","v":"0xFD"}]
[{"$nulls":17},506,203,null,"11001011","0xCB"]
[{"$nulls":17},406,167,null,"10100111","0xA7"]
[{"$nulls":17},334,127,null,"01111111","0x7F"]
[{"$nulls":17},254,254,null,"11111110","0xFE"]
[{"$nulls":17},508,205,null,"11001101","0xCD"]
[{"$nulls":17},410,171,null,"10101011","0xAB"]
[{"$nulls":17},342,103,null,"01100111","0x67"]
[{"$nulls":18},{"$f":"_xlfn.BITXOR(S41,S29)","v":27}]
[{"$nulls":17},{"$f":"_xlfn.BITLSHIFT(S42,1)","v":54},{"$f":"_xlfn.BITAND(IF(_xlfn.BITAND(S42,128)>0,_xlfn.BITXOR(R43,S$31),R43),255)","v":54},null,{"$f":"DEC2BIN(S43,8)","v":"00110110"},{"$f":"\"0x\"&DEC2HEX(S43,2)","v":"0x36"}]
[{"$nulls":17},108,108,null,"01101100","0x6C"]
[{"$nulls":17},216,216,null,"11011000","0xD8"]
[{"$nulls":17},432,129,null,"10000001","0x81"]
[{"$nulls":17},258,51,null,{"$f":"DEC2BIN(S47,8)","v":"00110011"},"0x33"]
[{"$nulls":17},102,102,null,"01100110","0x66"]
[{"$nulls":17},204,204,null,"11001100","0xCC"]
[{"$nulls":17},408,169,null,"10101001","0xA9"]